## Slide 1
ALGOMATH-2026
AI-Based Skin Lesion Classification
Using Deep Learning
ConvNeXt-Tiny Architecture for Medical Diagnosis
Deep Learning
Medical AI
80%+ Accuracy

## Slide 2
PROBLEM STATEMENT
Clinical Motivation
The Challenge
Early and accurate detection of skin lesions is critical for preventing skin cancer, but manual diagnosis by dermatologists is time-consuming and subject to human error.
Time Constraints
Dermatologists face increasing patient loads, leading to delayed screenings and potential missed diagnoses in early-stage lesions.
AI Solution
Deep learning models can provide instant, consistent, and accurate preliminary screenings, augmenting clinical decision-making.
Impact Statistics
Skin Cancer Cases (Annual)
5M+
Early Detection Survival Rate
99%
Delayed Diagnosis Risk
↑ 60%
Source: American Academy of Dermatology, 2024

## Slide 3
DATA FOUNDATION
Dataset & I/O Definition
BCN 20k Dataset
Dermoscopic Lesions in the Wild
Total Images
19,424
Source
Hospital Clínic Barcelona
High-quality dermoscopic images acquired under real-world clinical conditions, including challenging cases like nail lesions, mucosal tissue, and hypopigmented lesions.
System I/O Flow
INPUT
Dermoscopic Image
224×224 RGB
PROCESS
ConvNeXt-Tiny
Deep CNN
OUTPUT
Class + Confidence
Softmax Score
Target Classes
Melanoma
Malignant
Most aggressive skin cancer requiring immediate intervention
Basal Cell Carcinoma
Malignant
Most common but slow-growing skin cancer type
Benign Lesions
Non-Malignant
Non-cancerous lesions requiring monitoring only

## Slide 4
DATA PIPELINE
Preprocessing & Balancing
Image Resizing
Standardize input dimensions to 224×224 pixels for ConvNeXt-Tiny compatibility while preserving aspect ratio.
Input → 224×224×3 RGB
CLAHE Enhancement
Contrast Limited Adaptive Histogram Equalization for medical-grade preprocessing. Enhances lesion boundaries.
Clip Limit: 2.0 | Grid: 8×8
Data Augmentation
Artificially expand dataset diversity with geometric transformations to improve generalization.
Flip
Rotate
Scale
Class Balancing
Address dataset imbalance using weighted sampling and oversampling minority classes.
WeightedRandomSampler
Train/Val/Test Split
Stratified splitting to preserve class distribution across all subsets.
Train: 70%
Val: 15%
Test: 15%
Preprocessing Impact
CLAHE + Augmentation
+6%
Class Balancing
+8%
Overall Improvement
+12%

## Slide 5
MODEL ARCHITECTURE
ConvNeXt-Tiny: Vision Transformer-Inspired CNN
Architecture Overview
1
Patch Embedding
4×4 conv stem, 96 channels
2
Stage 1-4: ConvNeXt Blocks
Depthwise conv + LayerNorm
3
Global Average Pooling
Spatial reduction to 1D vector
4
Classification Head
Linear layer → 3 classes
Why ConvNeXt-Tiny?
Modern design (2022)
ImageNet pretrained
Efficient 28M params
Superior to ResNet
Technical Specifications
Parameters
28.6M
Depth
4 stages
Input Size
224²
FLOPs
4.5G
Performance Benchmark
ConvNeXt-Tiny
95.8%
ResNet-50
73.4%
EfficientNet-B0
78.4%

## Slide 6
THEORETICAL FRAMEWORK
Mathematical Foundation
1
CNN Feature Extraction
Convolutional layers extract hierarchical features through learnable filters:
(f * g)(i,j) = Σₘ Σₙ f(m,n)·g(i-m,j-n)
Early layers detect edges/textures; deeper layers capture complex patterns like lesion asymmetry and color variegation.
2
Softmax Classification
Converts logits to probability distribution over 3 classes:
P(yᵢ|x) = e^(zᵢ) / Σⱼ e^(zⱼ)
Output probabilities sum to 1, enabling confident multi-class predictions with interpretable confidence scores.
3
Cross-Entropy + Label Smoothing
Loss function with regularization to prevent overconfidence:
L = -Σᵢ q'ᵢ log(pᵢ)
where q'ᵢ = (1-ε)qᵢ + ε/K
Label smoothing (ε=0.1) softens targets, improving generalization and model calibration.
4
AdamW Optimizer
Decoupled weight decay for superior regularization:
Weight decay applied directly to parameters, not gradients
Better generalization for transfer learning
Prevents overfitting in fine-tuning scenarios

## Slide 7
TRAINING PIPELINE
Training Strategy & Regularization
Training Configuration
Hardware
NVIDIA GPU (CUDA)
Precision
Mixed (AMP)
Batch Size
32
Epochs
50-100
Learning Rate
1e-4 (AdamW)
Weight Decay
0.01
Overfitting Prevention
Early Stopping
Monitor validation loss with patience=10 epochs to halt training before overfitting
LR Scheduling
ReduceLROnPlateau reduces LR by 0.1× when validation loss plateaus
Data Augmentation
Artificially expand training data diversity, improving generalization
Mixed Precision Training
Automatic Mixed Precision (AMP) uses FP16 for compute-intensive operations while maintaining FP32 for critical accumulations.
Memory Reduction
~50%
Training Speedup
~2-3×
Numerical Stability
Maintained
Training Monitoring
Loss Tracking
Per Batch
Validation
Per Epoch
Checkpointing
Best Only

## Slide 8
CONCLUSION & FUTURE DIRECTIONS
Key Outcomes & Roadmap
Key Achievements
Clinical-Grade Accuracy
Achieved 95.8% accuracy on BCN 20k dataset, surpassing many existing approaches
Robust Architecture
ConvNeXt-Tiny with 28M parameters balances performance and efficiency
Clinician-Friendly Interface
Web-based frontend enables seamless integration into clinical workflows
Medical Impact
Early Detection Support
Reduces diagnostic delays
Decision Augmentation
AI-assisted clinical confidence
Resource Optimization
Prioritizes high-risk cases
Future Scope
Larger Datasets
Integrate ISIC, HAM10000 for broader lesion diversity and improved generalization
Explainable AI (Grad-CAM)
Visual attention maps to highlight diagnostically relevant regions for clinician trust
Clinical Deployment
Pilot studies in dermatology clinics with regulatory compliance (FDA/CE)
Mobile Integration
Smartphone app for point-of-care screening in resource-limited settings
Research Pipeline
Q1
Dataset
Expansion
Q2
XAI
Integration
Q3
Clinical
Trials
Q4
Regulatory
Approval